## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 198658
Peak Shortage (MW) | 595
Energy Met (MU) | 4426.35
Energy Shortage (MU) | 5.8442
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 201337