## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 199360
Peak Shortage (MW) | 2951
Energy Met (MU) | 4517.33
Energy Shortage (MU) | 11.288
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 203442