## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 200594
Peak Shortage (MW) | 1464
Energy Met (MU) | 4557.99
Energy Shortage (MU) | 8.233
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 207184