## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 201813
Peak Shortage (MW) | 2998
Energy Met (MU) | 4651.17
Energy Shortage (MU) | 23.6758
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 211251