## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 203292
Peak Shortage (MW) | 3374
Energy Met (MU) | 4779.05
Energy Shortage (MU) | 32.0617
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 220980