## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 201555
Peak Shortage (MW) | 1942
Energy Met (MU) | 4758.44
Energy Shortage (MU) | 14.556
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 218918