## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 203347
Peak Shortage (MW) | 1198
Energy Met (MU) | 4773.15
Energy Shortage (MU) | 6.545
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 220362