## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 190420
Peak Shortage (MW) | 317
Energy Met (MU) | 4494.2
Energy Shortage (MU) | 2.333
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 200980