## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 194701
Peak Shortage (MW) | 495
Energy Met (MU) | 4502.98
Energy Shortage (MU) | 3.974
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 206736