## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 190901
Peak Shortage (MW) | 577
Energy Met (MU) | 4448.82
Energy Shortage (MU) | 2.74
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 206927