## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 187182
Peak Shortage (MW) | 378
Energy Met (MU) | 4395.42
Energy Shortage (MU) | 2.475
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 206604