## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 176047
Peak Shortage (MW) | 266
Energy Met (MU) | 4233.14
Energy Shortage (MU) | 1.314
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 197158