## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 187518
Peak Shortage (MW) | 457
Energy Met (MU) | 4370.17
Energy Shortage (MU) | 3.8765
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 204605