## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 184286
Peak Shortage (MW) | 464
Energy Met (MU) | 4191.41
Energy Shortage (MU) | 1.796
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 198571