## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 178740
Peak Shortage (MW) | 607
Energy Met (MU) | 4100.28
Energy Shortage (MU) | 3.029
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 196989