## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 168695
Peak Shortage (MW) | 7
Energy Met (MU) | 3730.25
Energy Shortage (MU) | 0.433
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 180012