## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 162098
Peak Shortage (MW) | 216
Energy Met (MU) | 3629.63
Energy Shortage (MU) | 1.74
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 175512