## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 163124
Peak Shortage (MW) | 179
Energy Met (MU) | 3646.97
Energy Shortage (MU) | 0.922
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 176479