## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 167757
Peak Shortage (MW) | 147
Energy Met (MU) | 3765.52
Energy Shortage (MU) | 0.748
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 181948