## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 160287
Peak Shortage (MW) | 259
Energy Met (MU) | 3706.11
Energy Shortage (MU) | 1.564
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 181865