## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 175570
Peak Shortage (MW) | 242
Energy Met (MU) | 4020.55
Energy Shortage (MU) | 2.656
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 198520