## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 180669
Peak Shortage (MW) | 282
Energy Met (MU) | 4107.73
Energy Shortage (MU) | 2.66
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 204239