## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 179410
Peak Shortage (MW) | 693
Energy Met (MU) | 4144.62
Energy Shortage (MU) | 5.455
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 206815