## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 183415
Peak Shortage (MW) | 690
Energy Met (MU) | 4229.6
Energy Shortage (MU) | 4.57
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 211417