## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 181705
Peak Shortage (MW) | 244
Energy Met (MU) | 4232.18
Energy Shortage (MU) | 6.868
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 192061