## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 188805
Peak Shortage (MW) | 797
Energy Met (MU) | 4348.08
Energy Shortage (MU) | 15.3253
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 194537