## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 193589
Peak Shortage (MW) | 492
Energy Met (MU) | 4452.37
Energy Shortage (MU) | 12.441
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 197928