## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 156090
Peak Shortage (MW) | 53
Energy Met (MU) | 3604.66
Energy Shortage (MU) | 2.03
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 159720