## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 168988
Peak Shortage (MW) | 297
Energy Met (MU) | 3706.96
Energy Shortage (MU) | 3.72
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 173208