## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 168075
Peak Shortage (MW) | 256
Energy Met (MU) | 3804.05
Energy Shortage (MU) | 3.988
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 172050