## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 181273
Peak Shortage (MW) | 663
Energy Met (MU) | 4002.94
Energy Shortage (MU) | 5.101
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 184356