## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 182411
Peak Shortage (MW) | 801
Energy Met (MU) | 4109.14
Energy Shortage (MU) | 5.7226
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 185602