## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 176146
Peak Shortage (MW) | 606
Energy Met (MU) | 3997.99
Energy Shortage (MU) | 3.44
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 180377