## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 188013
Peak Shortage (MW) | 1855
Energy Met (MU) | 4235.13
Energy Shortage (MU) | 15.48
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 191660