## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 194527
Peak Shortage (MW) | 512
Energy Met (MU) | 4406.21
Energy Shortage (MU) | 10.03
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 198388