## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 188295
Peak Shortage (MW) | 13
Energy Met (MU) | 4433.01
Energy Shortage (MU) | 2.907
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 199382