## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 201505
Peak Shortage (MW) | 2838
Energy Met (MU) | 4585.13
Energy Shortage (MU) | 21.84
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 213893