## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 204160
Peak Shortage (MW) | 448
Energy Met (MU) | 4787.74
Energy Shortage (MU) | 5.2627
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 217155