## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 194011
Peak Shortage (MW) | 245
Energy Met (MU) | 4602.23
Energy Shortage (MU) | 4.67
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 207935