## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 185001
Peak Shortage (MW) | 83
Energy Met (MU) | 4448.1
Energy Shortage (MU) | 6.38
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 204585