## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 188186
Peak Shortage (MW) | 480
Energy Met (MU) | 4381.72
Energy Shortage (MU) | 14.237
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 196231