## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 198950
Peak Shortage (MW) | 532
Energy Met (MU) | 4662.95
Energy Shortage (MU) | 10.96
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 211608