## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 182336
Peak Shortage (MW) | 37
Energy Met (MU) | 4334.82
Energy Shortage (MU) | 3.8606
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 199064