## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 201286
Peak Shortage (MW) | 372
Energy Met (MU) | 4621.63
Energy Shortage (MU) | 6.6655
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 213982