## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 200289
Peak Shortage (MW) | 181
Energy Met (MU) | 4715.37
Energy Shortage (MU) | 7.722
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 217259