## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 203065
Peak Shortage (MW) | 702
Energy Met (MU) | 4756.59
Energy Shortage (MU) | 7.131
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 217843