## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 206367
Peak Shortage (MW) | 189
Energy Met (MU) | 4913.03
Energy Shortage (MU) | 10.65
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 223235