## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 203850
Peak Shortage (MW) | 599
Energy Met (MU) | 4851.58
Energy Shortage (MU) | 10.903
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 214583