## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 203731
Peak Shortage (MW) | 89
Energy Met (MU) | 4789.76
Energy Shortage (MU) | 5.3636
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 214640