## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 209821
Peak Shortage (MW) | 200
Energy Met (MU) | 4888.96
Energy Shortage (MU) | 4.329
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 215938